NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** CHILE  **If applicable, name of local government involved (Articles 3.2 and 7.2):** |
| **2.** | **Agency responsible:**  *Superintendencia del Medio Ambiente* (Environmental Regulatory Authority)  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  *Subsecretaría de Relaciones Económicas Internacionales*, SUBREI - *Ministerio de Relaciones Exteriores de Chile* (Under-Secretariat for International Economic Relations - Ministry of Foreign Affairs of Chile) |
| **3.** | **Notified under Article 2.9.2 [ ], 2.10.1 [ ], 5.6.2 [X], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Luminaires and floodlights for use in outdoor lighting |
| **5.** | **Title, number of pages and language(s) of the notified document:** *Protocolo de Análisis y Ensayos de Contaminación Lumínica de Luminarias y/o Proyectores de Alumbrado de Exteriores PCL N°1:2024* (Analysis and test protocol for the light pollution of luminaires and/or floodlights for outdoor lighting PCL No. 1:2024) (10 pages, in Spanish) |
| **6.** | **Description of content:** The notified Protocol establishes the requirements in respect of light pollution that must be met for the certification of luminaires and floodlights for use in the types of outdoor lighting defined in Articles 5, 6, 7 and 8 of Ministry of the Environment Supreme Decree No. 1/2022, establishing the "Artificial light emission standard for outdoor lighting, based on the revision of Ministry of the Environment Supreme Decree No. 43 of 2012". Such luminaires and floodlights must be in a condition representative of new manufacture, with a supply voltage not exceeding 1,000 volts, in accordance with the scope and coverage set out in IEC 62722-1 Ed. 1.0 2014-09: "Luminaire performance - Part 1: General requirements", and the other reference standards indicated in Table A, depending on the nature or type of light source used. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Protection of human health or safety; Protection of the environment |
| **8.** | **Relevant documents:**   * Exempt Resolution No. 731 approving *Protocolos de Análisis y Ensayo de Producto Eléctrico para la determinación del Cumplimiento de Protección de la Contaminación Lumínica D.S. N°43 de 2012 MMA, PCL N°1 y PCL N°2*, 26 August 2015. * Ministry of the Environment Supreme Decree No. 1 of 2022, new lighting standard. |
| **9.** | **Proposed date of adoption:** To be determined  **Proposed date of entry into force:** To be determined |
| **10.** | **Final date for comments:** 30 days from notification |
| **11.** | **Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body:**  Subsecretaría de Relaciones Económicas Internacionales, SUBREI  Ministerio de Relaciones Exteriores  Teatinos 180, piso 11  Tel.: (+56) 2 2827 5491  Fax: (+56) 2 2380 9494  Email: [tbt\_chile@subrei.gob.cl](mailto:tbt_chile@subrei.gob.cl)  <https://members.wto.org/crnattachments/2024/TBT/CHL/24_02680_00_s.pdf>  <https://members.wto.org/crnattachments/2024/TBT/CHL/24_02680_01_s.pdf>  <https://members.wto.org/crnattachments/2024/TBT/CHL/24_02680_02_s.pdf> |