NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** CHINA**If applicable, name of local government involved (Article 3.2 and 7.2):**  |
| **2.** | **Agency responsible:** State Administration for Market Regulation (Standardization Administration of the P.R.C.)**Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****],** **5.7.1 [****], 3.2 [****], 7.2 [****],** **other****:**  |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** gas fire extinguishing system and components(HS code(s): 842410); (ICS code(s): 13.220.10) |
| **5.** | **Title, number of pages and language(s) of the notified document:** National Standard of the P.R.C., Gas fire extinguishing systems and components; (114 page(s), in Chinese) |
| **6.** | **Description of content:** This document specifies the requirement of cylinder assemblies, nozzles, selector valves, check valves, manifolds, connection hoses, safety relief devices, actuation devices, control system, signal feedback devices, pressure reducing devices, actuation line vent valves, pipes and fittings, hook and bracket, room vents, flow calculation method and test, test methods, inspection rules, operation instructions, fire extinguishing agent filling and marking, packing, storage and transport to gas fire extinguishing systems and components.This document applies to system design, manufacture and test for chemical extinguishing system, like HFC227ea, and inert gas extinguishing systems, including IG-01(Argon), IG-100(Nitrogen), IG-55(Nitrogen, Argon), and IG-541 (Nitrogen, Argon, Carbon dioxygen).This document doesn't apply to system design, manufacture and test for carbon dioxide extinguishing systems and halon extinguishing systems. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Protection of human health or safety |
| **8.** | **Relevant documents:**  |
| **9.** | **Proposed date of adoption:** To be determined**Proposed date of entry into force:** 12 months after approval |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****X]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:** WTO/TBT National Notification and Enquiry Center of the People's Republic of ChinaTel：+86 10 57954633/ 57954627E\_mail: tbt@customs.gov.cn<https://members.wto.org/crnattachments/2024/TBT/CHN/24_02866_00_x.pdf> |