NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** KENYA**If applicable, name of local government involved (Article 3.2 and 7.2):**  |
| **2.** | **Agency responsible:** Kenya Bureau of StandardsP.O. Box: 54974-00200, Nairobi, KenyaTelephone: + (254) 020 605490, 605506/6948258Fax: + (254) 020 609660/609665E-mail: info@kebs.org; Website: <http://www.kebs.org>**Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****X],** **5.7.1 [****], 3.2 [****], 7.2 [****],** **other****:**  |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Instruments and appliances used in medical, surgical, dental or veterinary sciences, incl. scintigraphic apparatus, other electro-medical apparatus and sight-testing instruments, n.e.s. (HS code(s): 9018); Anaesthetic, respiratory and reanimation equipment (ICS code(s): 11.040.10) |
| **5.** | **Title, number of pages and language(s) of the notified document:** DKS 2170-1:2022 Medical gases — Specification. Part: 1. Medical Oxygen; (20 page(s), in English) |
| **6.** | **Description of content:** This Part 1 of KS 2170 prescribes the requirements and test methods for compressed medical oxygen intended for inhalation |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Prevention of deceptive practices and consumer protection; Protection of human health or safety; Quality requirements |
| **8.** | **Relevant documents:** 1. International Pharmacopoeia, Fourth Edition, 2006, Monographs, Pharmaceutical substances — Oxygen Monograph
2. International Pharmacopoeia, Fourth Edition, 2006 Reagents — Reagents, test solutions and volumetric solutions.
3. British Pharmacopoeia online 2008 — Gas detector tubes (Ph. Eur. text 2.1.6)
4. United States Pharmacopoeia (USP), 22ND Revision, 1990, official Monographs — Oxygen.
5. ISO 10083:2006, Oxygen concentrator supply systems for use with medical gas pipeline systems
6. KS ISO 32, Gas cylinders for medical use — Marking for identification of content
7. KS ISO 7225, Gas cylinders — Precautionary labels
8. KS 09-532, Specification for standard atmospheric conditions for test purposes
 |
| **9.** | **Proposed date of adoption:** 30 June 2023**Proposed date of entry into force:** To be determined |
| **10.** | **Final date for comments:** 19 March 2023 |
| **11.** | **Texts available from: National enquiry point [****X]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:** Kenya Bureau of StandardsWTO/TBT National Enquiry PointP.O. Box: 54974-00200, Nairobi, KenyaTelephone: + (254) 020 605490, 605506/6948258Fax: + (254) 020 609660/609665E-mail: info@kebs.org; Website: <http://www.kebs.org><https://members.wto.org/crnattachments/2023/TBT/KEN/23_0520_00_e.pdf> |