NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** THAILAND  **If applicable, name of local government involved (Article 3.2 and 7.2):** |
| **2.** | **Agency responsible:** Thai Industrial Standards Institute (TISI), Ministry of Industry  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  WTO/TBT Enquiry Point and Notification Authority  Thai Industrial Standards Institute (TISI), Ministry of Industry  Tel: (662) 430 6831 ext. 2130  Fax: (662) 354 3041  E-mail: [thaitbt@tisi.mail.go.th](mailto:thaitbt@tisi.mail.go.th)  Website: <https://www.tisi.go.th> |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****],** **5.7.1 [****], 3.2 [****], 7.2 [****],** **other****:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Ventilators. Fans. Air-conditioners (ICS code(s): 23.120) |
| **5.** | **Title, number of pages and language(s) of the notified document:** Draft Ministerial Regulation on Room air conditioner : energy efficiency (TIS 2134 –25XX); (21 page(s), in Thai) |
| **6.** | **Description of content:** The draft ministerial regulation mandates room air conditioner to conform with the standard for Room air conditioner: energy efficiency (TIS 2134 –25XX).  This standard covers the following:  - Room air conditioners with net total cooling capacity not exceeding 18000 W with rated voltage of 250 V for single phase air conditioners and rated voltage 600 V for multiphase air conditioners, including ducted air conditioners with net total cooling capacity less than 8000 W, intended to operate at external static pressure less than 25 Pa.  - Condensing unit and fan coil unit  This standard does not cover:  - Ducted air conditioners except for the above mentioned.  - Multiple split system air conditioners  - Portable air conditioners  - Air curtains  - Vehicle air conditioners  - Water cooled condenser air conditioners |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Energy conservation |
| **8.** | **Relevant documents:**  - TIS 385-2524 Room air conditioners  - TIS 1155-2557 Air-cooled split type room air conditioners  - TIS 2710-2558 Non-ducted air conditioners and heat pumps – Testing and rating for performance  - TIS 2714 Part 1-2558 Air-cooled air conditioners and air-to-air heat pumps – Testing and calculating methods for seasonal performance factors – Part 1: Cooling seasonal performance factor |
| **9.** | **Proposed date of adoption:** To be determined  **Proposed date of entry into force:** 365 days after the date of adoption |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:**  WTO/TBT Enquiry Point and Notification Authority  Thai Industrial Standards Institute (TISI), Ministry of Industry  Tel: (662) 430 6831 ext. 2130  Fax: (662) 354 3041  E-mail: [thaitbt@tisi.mail.go.th](mailto:thaitbt@tisi.mail.go.th)  Website: <https://www.tisi.go.th>  <https://members.wto.org/crnattachments/2022/TBT/THA/22_5605_00_x.pdf> |