NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** THAILAND  **If applicable, name of local government involved (Article 3.2 and 7.2):** |
| **2.** | **Agency responsible:**  Thai Industrial Standards Institute (TISI), Ministry of Industry  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  WTO/TBT Enquiry Point and Notification Authority  Thai Industrial Standards Institute (TISI), Ministry of Industry  Tel: (662) 430 6831 ext. 2130  Fax: (662) 354 3041  E-mail: [thaitbt@tisi.mail.go.th](mailto:thaitbt@tisi.mail.go.th)  Website: <https://www.tisi.go.th> |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****],** **5.7.1 [****], 3.2 [****], 7.2 [****],** **other****:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Fuses and other overcurrent protection devices (ICS code(s): 29.120.50) |
| **5.** | **Title, number of pages and language(s) of the notified document:** Draft Ministerial Regulation Prescribing Industrial Products for Residual Current Operated Circuit-Breakers with Integral Overcurrent Protection for Household and Similar Uses (RCBOs) to Conform to the Standard B.E. ....; (199 page(s), in Thai) |
| **6.** | **Description of content:** The draft Ministerial Regulation mandates residual current operated circuit-breakers with integral overcurrent protection for household and similar uses to conform to the Thai Industrial Standard TIS 909–25XX (20XX) Residual Current Operated Circuit-breakers with Integral Overcurrent Protection for Household and Similar Uses (RCBOs).  This standard applies to residual current operated circuit breakers with integral overcurrent protection functionally independent of, or functionally dependent on, line voltage for household and similar uses (hereafter referred to as RCBOs), for rated voltages not exceeding 440 V a.c. with rated frequencies of 50 Hz and rated currents not exceeding 125 A and rated short-circuit capacities not exceeding 25000 A for operation at 50 Hz. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Protection of human health or safety |
| **8.** | **Relevant documents:**  IEC 61009-1 Edition 3.2 (2013-09) Residual current operated circuit-breakers with integral overcurrent protection for household and similar uses (RCBOs) - Part 1: General rules + COR1:2014 |
| **9.** | **Proposed date of adoption:** To be determined  **Proposed date of entry into force:** After 180 days following the date of its publication in the Government Gazette |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:**  WTO/TBT Enquiry Point and Notification Authority  Thai Industrial Standards Institute (TISI), Ministry of Industry  Tel: (662) 430 6831 ext. 2130  Fax: (662) 354 3041  E-mail: [thaitbt@tisi.mail.go.th](mailto:thaitbt@tisi.mail.go.th)  Website: <https://www.tisi.go.th>  <https://members.wto.org/crnattachments/2024/TBT/THA/24_02567_00_x.pdf> |