NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** THE SEPARATE CUSTOMS TERRITORY OF TAIWAN, PENGHU, KINMEN AND MATSU  **If applicable, name of local government involved (Article 3.2 and 7.2):** |
| **2.** | **Agency responsible:**  Bureau of Standards, Metrology and Inspection  Ministry of Economic Affairs  No. 4, Sec. 1, Jinan Rd., Zhongzheng Dist.  Taipei City 100, Taiwan  Tel.: (886-2) 3343-2264  Fax: (886-2) 3343-3991  E-mail: [shogi.chu@bsmi.gov.tw](mailto:shogi.chu@bsmi.gov.tw)  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:** |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****X],** **5.7.1 [****], 3.2 [****], 7.2 [****],** **other****:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** - Other switches (HS code(s): 853650); - - Other (HS code(s): 853669); - - Fitted with connectors (HS code(s): 854442) |
| **5.** | **Title, number of pages and language(s) of the notified document:** Proposal for Amendments to the Legal Inspection Requirements for Plugs and Socket-Outlets for Fixed Wiring and 7 Other Power Distribution Products; (6 page(s), in Chinese), (7 page(s), in English) |
| **6.** | **Description of content:** Plugs and socket outlets for fixed wiring are having more and more diversified functions, e.g., wireless control, timing control, and induction control. Household switches for fixed wiring are gradually being replaced by electronic switches. As a result of risk assessment, BSMI proposes to add 8 products for fixed wiring with wireless control, wired network control, timing control, voice control, motion sensing, light sensing, and electricity calculation functions into the scope of legal inspection. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Protection of human health or safety |
| **8.** | **Relevant documents:**  The Commodity Inspection Act;  CNS 690 (2016);  CNS 15767-1(2014);  CNS 15767-2-5(2014);  CNS 15767-2-7(2016);  CNS 15872(2016);  CNS 6797(1991);  CNS 60799(2016);  IEC 60320-1(2001);  CNS 61242(2016);  CNS 695(1987);  CNS 60669-1(2020);  IEC 60669-2-1(2021);  CNS 15663(2013) Section 5 "Marking of presence" |
| **9.** | **Proposed date of adoption:** To be determined  **Proposed date of entry into force:** 1 January 2025 |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****X]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:**  WTO/TBT Enquiry Point  Bureau of Standards, Metrology and Inspection  Ministry of Economic Affairs  No. 4, Sec. 1, Jinan Rd., Zhongzheng Dist.  Taipei City 100, Taiwan  Tel: +(886-2) 23431916  Fax: +(886 2) 23431804  Email: [tbtenq@bsmi.gov.tw](mailto:tbtenq@bsmi.gov.tw)  <https://members.wto.org/crnattachments/2022/TBT/TPKM/22_6107_00_e.pdf>  <https://members.wto.org/crnattachments/2022/TBT/TPKM/22_6107_00_x.pdf> |