NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** Uganda  **If applicable, name of local government involved (Article 3.2 and 7.2):** |
| **2.** | **Agency responsible:**  Uganda National Bureau of Standards  Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park  P.O. Box 6329 Kampala, Uganda  Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123  E-mail: [info@unbs.go.ug](mailto:info@unbs.go.ug)  Website: <https://www.unbs.go.ug>  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:** |
| **3.** | **Notified under Article 2.9.2 [****],** **2.10.1 [****],** **5.6.2 [****X],** **5.7.1 [****],** **other****:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Electrical Insulating Oil; Medium oils and preparations, of petroleum or bituminous minerals, not containing biodiesel, n.e.s (HS 271019); Insulating oils (ICS 29.040.10) |
| **5.** | **Title, number of pages and language(s) of the notified document:** DUS 2361:2021,Standard Test Method for 2,6-di-tert-Butyl- p-Cresol and 2,6-di-tert-Butyl Phenol in Electrical Insulating Oil by Infrared Absorption, First Edition (12 page(s), in English) |
| **6.** | **Description of content:** This Draft Uganda Standards covers the determination of the weight percent of 2,6-ditertiary-butyl paracresol (DBPC) and 2,6-ditertiary-butyl phenol (DBP) in new or used electrical insulating oil in concentrations up to 0.5 % by measuring its absorbance at the specified wavelengths in the infrared spectrum. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Prevention of deceptive practices and consumer protection; Quality requirements |
| **8.** | **Relevant documents:**   1. D923  Practices for Sampling Electrical Insulating Liquids 2. D2144  Practices for Examination of Electrical Insulating Oils by Infrared Absorption 3. D3487  Specification for Mineral Insulating Oil Used in Electrical Apparatus |
| **9.** | **Proposed date of adoption:** December 2021  **Proposed date of entry into force:** Not applicable |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****X]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:**  Uganda National Bureau of Standards  Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park  P.O. Box 6329 Kampala, Uganda  Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123  E-mail: [info@unbs.go.ug](mailto:info@unbs.go.ug)  Website: <https://www.unbs.go.ug> |