NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** Uganda **If applicable, name of local government involved (Article 3.2 and 7.2):**  |
| **2.** | **Agency responsible:** Uganda National Bureau of Standards Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park P.O. Box 6329 Kampala, Uganda Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123 E-mail: info@unbs.go.ug Website: <https://www.unbs.go.ug>**Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  |
| **3.** | **Notified under Article 2.9.2 [****],** **2.10.1 [****],** **5.6.2 [****X],** **5.7.1 [****],** **other****:**  |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Insulating Liquids; Medium oils and preparations, of petroleum or bituminous minerals, not containing biodiesel, n.e.s (HS 271019); Insulating fluids in general (ICS 29.040.01) |
| **5.** | **Title, number of pages and language(s) of the notified document:** DUS 2354:2021, Standard Test Method for Visual Examination of Used Electrical Insulating Liquids in the Field, First Edition (7 page(s), in English) |
| **6.** | **Description of content:** This Draft Uganda Standard is for visual examination is applicable to electrical insulating liquids that have been used in transformers, oil circuit breakers, or other electrical apparatus as insulating or cooling media, or both. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Prevention of deceptive practices and consumer protection; Quality requirements |
| **8.** | **Relevant documents:** 1. ASTM D1500 Test Method for ASTM Color of Petroleum Products (ASTM Color Scale)
2. ASTM D2129 Test Method for Color of Clear Electrical Insulating Liquids (Platinum-Cobalt Scale)
 |
| **9.** | **Proposed date of adoption:** December 2021**Proposed date of entry into force:** Not applicable |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****X]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:** Uganda National Bureau of Standards Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park P.O. Box 6329 Kampala, Uganda Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123 E-mail: info@unbs.go.ug Website: <https://www.unbs.go.ug> |