NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** UGANDA  **If applicable, name of local government involved (Article 3.2 and 7.2):** |
| **2.** | **Agency responsible:**  Uganda National Bureau of Standards  Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park  P.O. Box 6329  Kampala, Uganda  Tel: +(256) 4 1733 3250/1/2  Fax: +(256) 4 1428 6123  E-mail: [info@unbs.go.ug](mailto:info@unbs.go.ug)  Website: <https://www.unbs.go.ug>  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:** |
| **3.** | **Notified under Article 2.9.2 [****],** **2.10.1 [****],** **5.6.2 [****X],** **5.7.1 [****], 3.2 [****], 7.2 [****],** **other****:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Petroleum gases and other gaseous hydrocarbons. (HS code(s): 2711); Fuels (ICS code(s): 75.160), Gaseous Fuels |
| **5.** | **Title, number of pages and language(s) of the notified document:** **DUS 2526:2022, Standard Test Method for Analysis of Oxygen in Gaseous Fuels (Electrochemical Sensor Method), First Edition**; (11 page(s), in English) |
| **6.** | **Description of content:** This Draft Uganda Standard is for the determination of oxygen (O2) in gaseous fuels and fuel type gases. It is applicable to the measurement of oxygen in natural gas and other gaseous fuels. This method can be used to measure oxygen in helium, hydrogen, nitrogen, argon, carbon dioxide, mixed gases, process gases, and ambient air. The applicable range is 0.1 ppm(v) to 25 % by volume. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Prevention of deceptive practices and consumer protection; Quality requirements |
| **8.** | **Relevant documents:**   1. ASTM D4150 2. ASTM E177 3. ASTM E691 |
| **9.** | **Proposed date of adoption:** To be determined  **Proposed date of entry into force:** Not applicable. |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****X]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:**  Uganda National Bureau of Standards  Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park  P.O. Box 6329  Kampala, Uganda  Tel: +(256) 4 1733 3250/1/2  Fax: +(256) 4 1428 6123  E-mail: [info@unbs.go.ug](mailto:info@unbs.go.ug)  Website: <https://www.unbs.go.ug> |