NOTIFICATION

Addendum

The following communication, dated 21 September 2022, is being circulated at the request of the delegation of the United States of America.

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Title:** Energy Conservation Program: Test Procedure for Circulator Pumps

|  |  |
| --- | --- |
| **Reason for Addendum:** | |
| [ ] | Comment period changed - date: |
| [ ] | Notified measure adopted - date: |
| [X] | Notified measure published - date: 19 September 2022 |
| [X] | Notified measure enters into force - date: 19 October 2022 |
| [X] | Text of final measure available from[[1]](#footnote-1):  <https://www.govinfo.gov/content/pkg/FR-2022-09-19/html/2022-19760.htm>  <https://www.govinfo.gov/content/pkg/FR-2022-09-19/pdf/2022-19760.pdf>  <https://members.wto.org/crnattachments/2022/TBT/USA/final_measure/22_6416_00_e.pdf> |
| [ ] | Notified measure withdrawn or revoked - date:  Relevant symbol if measure re-notified: |
| [ ] | Content or scope of notified measure changed and text available from1:  New deadline for comments (if applicable): |
| [ ] | Interpretive guidance issued and text available from1: |
| [ ] | Other: |

**Description:** TITLE: Energy Conservation Program: Test Procedure for Circulator Pumps

AGENCY: Office of Energy Efficiency and Renewable Energy, Department of Energy

ACTION: Final rule

SUMMARY: The U.S. Department of Energy ("DOE") is establishing definitions, a test procedure, sampling and rating requirements, and enforcement provisions for circulator pumps. Currently, circulator pumps are not subject to DOE test procedures or energy conservation standards. DOE is adopting a test procedure for measuring the circulator energy index for circulator pumps. The test method references the relevant industry test standard. The definitions and test procedures are based on the recommendations of the Circulator Pump Working Group, which was established under the Appliance Standards Rulemaking Federal Advisory Committee.

DATES: The effective date of this rule is 19 October 2022. Compliance with the final rule will be mandatory for representations of head, flow rate, driver power input, circulator energy rating, and circulator energy index made on or after 20 March 2023. The incorporation by reference of certain publications listed in the rule is approved by the Director of the Federal Register on 19 October 2022.

This final rule and the notice of proposed rulemaking; request for comment notified as [G/TBT/N/USA/1815](https://eping.wto.org/en/Search?domainIds=1&documentSymbol=usa%2F1815) are identified by Docket Number EERE-2016-BT-TP-0033. The Docket Folder is available on Regulations.gov at <https://www.regulations.gov/docket/EERE-2016-BT-TP-0033/document> and provides access to primary and supporting documents as well as comments received. Documents are also accessible from [Regulations.gov](https://www.regulations.gov/) by searching the Docket Number.

**\_\_\_\_\_\_\_\_\_\_**

1. This information can be provided by including a website address, a pdf attachment, or other information on where the text of the final/modified measure and/or interpretive guidance can be obtained. [↑](#footnote-ref-1)